Section 1 – Definition of Terms

As used in this Resolution, the following words and terms shall have the meanings hereinafter set forth in this Section, unless the context clearly requires a different meaning:

  - Biochemical Oxygen Demand shall mean the quantity of oxygen, expressed in milligrams per liter, utilized in the biological oxidation of organic matter under standard laboratory procedure for 5 days at 20 degrees Centigrade.  The standard laboratory procedure shall be found in the latest edition of “Standard Methods for the Examination of Water and Wastewater” published by the American Public Health Association, Inc.

1.2     BMP’s shall mean best management practices as described in the Code of Federal Regulations 40CFR § 122.2 and 40 CFR § 403.3(e), and are defined as schedules of activities, prohibitions of practices, maintenance procedures, and other management practices to prevent or reduce pollution.

  - Collection Systems shall mean the separate sewer systems in each Municipality (whether owned by a Municipality or an Authority) which discharge Wastewater to the Regional System.  The Collection Systems consist of   collection sewers, laterals, local pumping stations, and other sewer facilities which are used in the collection of sewage and which convey wastewater to the Regional System at the Connection Points.

  - Connection Points shall mean the several locations shown on the Index    Maps, attached hereto as Exhibit A, where the Collection Systems are connected to the Regional System.

  - DEP shall mean the Pennsylvania Department of Environmental Protection or its successor.

  - Domestic Sewage shall mean the normal water-carried household and toilet

waste from residences, commercial establishments, institutions, industries,

and other users of the Regional System.

  - ESCRA shall mean the Eastern Snyder County Regional Authority, a municipal authority of the Commonwealth of Pennsylvania, existing under the provisions of the Municipality Authorities Acts of 1945, approved May 2, 1945, P.L. 382, as amended and supplemented.

  - Engineer shall mean the ESCRA consulting Engineer, who is retained by   ESCR to provide recommendations and advice pertaining to the operation of the Regional System.

  - EPA shall mean the United Stated Environmental Protection Agency or its        successor.

1.10   High Strength Wastewater shall mean wastewater having a 5-day     Biochemical Oxygen Demand greater than 200 mg/L, a Suspended Solids content greater than 225 mg/L, a Total Nitrogen content of greater than 37 mg/l, or a Total Phosphorus content greater than 5.9 mg/l.

1.11   Industrial Establishment shall mean any premises used wholly or in part for the manufacture, processing, cleaning, laundering or assembly of any product, commodity or article or from which any process waste, as distinct from Domestic Sewage, shall be discharged.

1.12   Industrial Waste shall mean any solid, liquid, or gaseous substance or form of any energy rejected, escaping or discharged in the course of any industrial, manufacturing, trade or business process or in the course of the    development, recovery or processing of natural resources, as distinct from Domestic Sewage.

1.13     Municipality shall mean the Boroughs of Selinsgrove, Shamokin Dam and     the Townships of Monroe and Penn, all located in Snyder County, Pennsylvania.

1.14     Municipal Authority shall mean the Selinsgrove Municipal Authority,

Shamokin Dam Water and Sewerage Authority, Hummels Wharf Municipal

Authority, and Penn Township Municipal Authority, all located in Snyder

County, Pennsylvania.

  - National Categorical Pretreatment Standard shall mean any regulation

containing pollutant discharge limits promulgated by the United States

Environmental Protection Agency in accordance with Section 307 (b) and

(c) of the Federal Water Pollution Control Act, as may be amended from

time to time.

  - Owner shall mean any person vested with ownership, legal or equitable,      sole or partial, of any improved property.

  - Person shall mean any individual, partnership, firm, company, association,

society, corporation, or other group entity.

  - Regional System shall mean the sewer facilities owned by ESCRA and

operated for the benefit of the Municipalities and Authorities.

The facilities include the Treatment Plant, sewers, pumping stations, and

force mains, but exclude the Collection Systems.

1.19   Service Area shall mean the geographical area within the Municipalities to      be served by the Regional System as shown on the service Area map,

attached hereto as Exhibit B.

1.20   Sewer System shall mean the sanitary sewers, manholes, pumping stations,

and force mains of ESCRA, the Municipalities, and the Municipal

Authorities.

1.22   Suspended Solids shall mean suspended solids, expressed in milligrams

per liter, in the Sewage as determined pursuant to the procedure

set forth in the latest edition of “Standard Methods for the Examination

of water and Wastewater”, published by the American Public Health

Association, Inc.

1.23   Treatment Plant shall mean the wastewater treatment plant, owned by      ESCRA and situated on the Isle of Que in Penn Township, South of the Borough of Selinsgrove.

1.24   User shall mean any person, corporation, or entity which discharges

Wastewater into the Sewer System.

1.25   Wastewater shall mean water and substances contained therein which are

discharged into and flow through the Sewer System.  The term includes

Domestic Sewage, Sanitary Sewage, and Industrial Waste, but only to the

extent that Industrial Waste has been pretreated and/or meets the

requirements of this Resolution.

Section 2 - Wastewater Quality and Quantity

  - No Person shall discharge or cause to be discharged any stormwater,

surface water, spring water, groundwater, roof runoff, subsurface drainage, building foundation drainage, cellar drainage, drainage from roof leader connections, and overflow or drainage from cesspools into any Sewer System.

  - The Wastewater discharged to the Regional System by the Municipalities or

Municipal Authorities shall not exceed any of the following loading limits:

- Maximum average daily volume of flow to the Treatment Plant per 24

hours during any calendar month of 3.00 million gallons.

- Maximum instantaneous peak flow rate to the Treatment Plant of

7.00 million gallons.

(c) Maximum concentration of 200 milligrams per liter of biochemical

oxygen demand as a monthly average value.

- Maximum concentration of 225 milligrams per liter of suspended solids

as a monthly average value.

- Maximum concentration of 37 milligrams per liter of Total Nitrogen as a weekly average value.

(f)   Maximum concentration of 5.9 milligrams per liter of Total     Phosphorus as a weekly average value.

  - ESCRA reserves the right to refuse permission to connect to the Regional System, to compel discontinuance of use of the Regional System or to compel pretreatment of Industrial Waste by any Industrial Establishment or any other User in order to prevent discharges which are deemed harmful to or will have a deleterious effect on the Regional System or any part thereof.  No Wastewaters shall be discharged to the Regional System, unless a permit which is issued in accordance with Section 7 of these Rules and Regulations:

- Having a 5-day Biochemical Oxygen demand in excess of 200 mg/L as

a weekly average value.

(b) Having a Suspended Solids concentration in excess of 225 mg/L as a

weekly average value.

- Having a maximum concentration of 37 milligrams per liter of Total Nitrogen as a weekly average value.

(d)   Having a maximum concentration of 5.9 milligrams per liter of Total                                              Phosphorus as a weekly average value.

(e)  Having a temperature higher than 140 degrees Fahrenheit.

(f)  Containing more than 100 ppm by weight of fats, oils and grease.

- Containing any gasoline, benzene, naphtha, fuel oil, or other inflammable or explosive liquid, solid, or gas.

- Containing any garbage that has not been ground by household type or other suitable garbage grinders.

- Containing any ashes, cinders, sand, mud, straw, shavings, metal, glass, rags, feathers, tars, plastics, wood, paunch manure, or any other solids or viscous substances capable of causing obstructions or other interferences with proper operation of the Regional System.

- Having a pH lower than 6.0 or higher than 9.0, or having any other corrosive property capable of causing damage or hazards to structures, equipment, or personnel of the Regional System.

- Containing toxic or poisonous substances in sufficient quantity to injure or interfere with any Wastewater treatment process, or to constitute hazards to humans or animals, or to create any hazard in waters which receive treated effluent from Treatment Plant.  Toxic wastes shall

include, but are not limited to, wastes containing cyanide, chromium, copper, and nickel ions.

- Containing noxious or malodorous gases or substances capable of     creating a public nuisance or that will pass through the Treatment Plant

and exceed the state or interstate requirements for the receiving stream.

(m)  Containing solids of such character and quantity that special and

unusual attention is required for their handling in the Regional System.

(n) Containing radioactive isotopes of any kind.

(o) Containing any cooling water or unpolluted industrial or commercial

process water.

- Containing any substances which are not amendable to treatment or

reduction by the biochemical wastewater treatment process employed at the Treatment Plant, or are amenable to treatment to such a degree that the effluent of the Treatment Plant cannot meet the requirements of agencies having jurisdiction over the discharge to the receiving stream.

Section 3 - Collection Systems

  - Each Municipality or its related Authority will own, operate, maintain and

expand its own Collection System, shall impose all rents and charges on users of its System, shall do all of its own billing and collection, pay all costs of operating, maintaining and repairing its Collection System and shall continuously operate the Collection System and keep the same in proper repair and operating condition.  ESCRA shall not be liable for any damages or demands whatsoever in any manner arising or growing out of the construction, operation, maintenance or repair of the collection Systems; and each Municipality and Authority (other than ESCRA) will hold harmless ESCRA from all claims for damages arising or growing out of the construction, operation, maintenance or repair of said Collection Systems. Each municipality and Authority owning or operating a Collection System shall make all necessary renewals, replacements and improvements thereto in order to maintain adequate service and shall comply with all present and future laws, rules, regulations, permits, orders and requirements applicable thereto and lawfully made by DEP, EPA, ESCRA, or other governmental body having jurisdiction.

  - No Municipality or Authority will construct, own or operate any treatment

facility in the Service Area, nor will it permit any part of its Collection System within the Service Area to be connected to any treatment or disposal facilities other than the Regional System, it being the intention that the Regional System

is to be the exclusive Wastewater treatment and disposal facility within the entire Service Area.

3.3      Inflow/infiltration studies of the Collection Systems and corrective action may

be required by ESCRA or by DEP or EPA from time to time in order to protect the Regional System from excessive flows of surface or groundwater.  All Municipalities and Authorities will cooperate in carrying out such tests, studies, inspections, rehabilitation, and other work as may be required by EPA, DEP, or ESCRA in connection with such inflow/infiltration.  Any Municipality (or its    Authority) required to correct inflow/infiltration problems in its Collection System shall pay the cost thereof, and shall complete the work in a timely manner.

  - The Municipalities or the Municipal Authorities, as applicable, shall adopt

ESCRA’s Rules and Regulations and shall at all times require Users or their

Collection Systems to fully comply with these Rules and Regulations. The

Municipalities or Municipal Authorities shall adopt and enforce appropriate

penalties, consistent with the laws of the Commonwealth of Pennsylvania, for

any violation of these Rules and Regulations.

3.5     Each Municipality and Municipal Authority shall adopt ordinances or

Resolutions, and keep the same in effect, requiring the issuance of the sewer

Permits as required by this Resolution and establishing rules and regulations

governing the construction of building sewers, service laterals, connections

and other matters relating to the Collection Systems. ESCRA shall have

access to all Collection Systems and the records, plans, and other documents

relating thereto for all purposes of this Resolution upon reasonable notice to the

Municipality or Municipal Authority operating the same.

  - No Collection Sewer or other sewer will be permitted to be connected to the

Regional System unless it provides sewer service to a building or structure

which is located in the Service Area.  No Person, firm, or corporation,

Municipality, or Municipal Authority shall install or make connections to any

Sewer System which is in any manner connected with the Regional System

without first obtaining a permit to do so from the Municipality or Municipal

Authority having jurisdiction thereof.

  - ESCRA’s approval of DEP Sewage facilities Planning Modules (Planning

Modules) and the commitment of Regional System capacity for proposed

connections, direct or indirect, to the Regional System shall be for a period

of two years (730 calendar days).  The two-year period shall commence on the

date of ESCRA’s approval or on the date of DEP’s approval, provided that the

Planning Module applicant provides ESCRA with written evidence of DEP’s

approval and the date thereof.  Approval of connections not made within the

two-year period shall become null and void and those connections shall not be

made until the Planning Module applicant obtains a new written approval from

ESCRA to make the connections.

3.8       Requests for reviews brought before the board that are anticipated to require       	reviews necessitating any professional services must first provide a minimum 	escrow amount of $1,500 before the review shall begin.  If at any time during 	the review process the balance falls to zero, the review shall halt until the 	account is replenished to the minimum escrow amount as indicated above.  	Itemized expense reports shall be provided as the review process proceeds. 	Upon completion of the review, any balance remaining shall be refunded to the 	party.

3.9       House laterals and other private sewers may not be connected directly to the                   	Regional System.  All such connections must be made through public

sewers of the Collections Systems which are authorized by a Permit issued

by DEP and which are owned and maintained by a participating Municipality

or Municipal Authority.

Section 4 – Meters and Connection Points

4.1     The Regional System includes certain meters, sampling chambers and other

devices necessary to measure the quantity and quality of the Wastewater

in the Regional System.  Such meters are located at the Main Wastewater

Pumping Station, the Shamokin Dam Wastewater Pumping Station and at

certain Connection Points and other locations in the Regional System, all as

shown on the Regional System and Connection Point Maps attached to this

Resolution.  All such meters, sampling chambers and other measuring devices,

together with the actual Connection Points of any Collection System to the

Regional System shall be owned, operated, maintained and controlled by

ESCRA.  All other meters and measuring devices, except those described in

section 4.2 shall be installed, owned, operated, maintained and controlled by the

respective Municipalities as part of their Collection Systems.

4.2     No municipality shall make or permit any direct connection to the Regional

interceptors or other sewer lines which are part of the Regional System except

as hereinafter provided.  If any Municipality desires an additional Connection

Point between its Collection System and the Regional System it shall make a written application therefor to ESCRA.  Upon approval of the application by ESCRA and any governmental agencies having jurisdiction, the Municipality or Municipal Authority requesting the Connection Point will construct and install or otherwise arrange for the construction and installation of the additional Connection Point, together with related meters and other facilities as required, at the cost and expense of the Municipality or Municipal Authority requesting the same.  ESCRA shall have the right to review and approve drawings and specifications for the manner, methods and materials used in the construction of any additional Connection Points, and also shall have the right to inspect the work.  When making any new connection to the Regional System, the

Municipality shall prohibit and prevent the admittance of groundwater or surface water resulting from construction to flow into the Regional System.  The Municipality or the contractor may not flush, drain, pump, or deposit any water, silt, or debris from the new sewer or related construction into the Regional System. The design, construction, and activation of the new connection shall

conform to the rules, regulations and requirements of ESCRA.  The physical connection into the Regional System shall be the last item of construction and shall not be made until authorized by ESCRA.

4.3     In the case of missing flow records due to faulty meter registration or otherwise,

ESCRA shall estimate the volume of Wastewater discharged.  Such estimates

shall be based on an evaluation of past flow records as applied to present

conditions.  A copy of such estimates, together with calculations and past flow

records upon which the same are based, shall be made available to each

Municipality affected thereby.

  - All meters measuring wastewater flow discharged into the Regional System,

either directly or indirectly, as well as those meters measuring Wastewater flow within the Regional System, shall be calibrated no less than annually.

  - In the absence of meter readings, flow quantities shall be determined on the

average number of equivalent dwelling units (upon the basis of a discharge rate of 275 gallons per equivalent dwelling unit per day).  The number of equivalent dwelling units connected for any quarter shall be the average of the equivalent dwelling units connected on the first and last days of the quarter.  The number of equivalent dwelling units shall be supplied to ESCRA by the affected municipality.

Section 5 - Fees and Charges

  - Each Municipality or Municipal Authority shall pay quarterly bulk wastewater

treatment charges for the use of the Regional System in accordance with schedules of charges which may be adopted from time to time by ESCRA in accordance with the following provisions:

- For each fiscal year, ESCRA will compute its aggregate budget

requirements including all Operating Expenses, all debt service requirements on any Bonds, all amounts required to meet the Bond coverage or reserve requirements of any Indenture, and a reasonable reserve for replacements or extraordinary repairs (and/or provision for the repayment of loans and interest thereon made to finance extraordinary or emergency repairs or replacements), and shall deduct therefrom all anticipated revenues including investment income, state subsidies, and all other sewer revenues,

except payments becoming due under this Agreement.  The resulting amount shall be and is hereinafter called the “Net Budget.”

- The Net Budget shall be apportioned among the Municipalities and

Municipal Authorities customers of ESCRA on the basis of the total measured volume of Wastewater flow from each such customer, adjusted, if applicable, for extra strength Wastewater.

  - The following procedure shall govern the adoption of each Net Budget:

- One hundred twenty (120) days before the first day of the first fiscal year or

part thereof, and one hundred twenty (120) days before the first day of each fiscal year thereafter, each Municipality and Municipal Authority shall provide to ESCRA flow projections and such other information as it may reasonably request to assist in formulating estimates of revenues and expenditures.

(b) ESCRA shall establish a proposed Net Budget and proportionate shares for

each customer and deliver copies thereof to each municipality or Municipal    Authority.  ESCRA shall hold at least one public meeting on the proposed Budget not less than (10) days after the same has been delivered to the Municipalities and Municipal Authorities. Ten (10) days written notice of the date, time and place of the public meeting shall be given to the Municipalities and Municipal Authorities and shall be advertised in a newspaper of general circulation in Snyder County.

(c)  After the public meeting, ESCRA shall adopt a final Net Budget for the

ensuing fiscal year, shall determine the estimated shares of each customer

and shall deliver copies thereof to each customer not less than thirty (30) days before the first day of the fiscal year (or portion thereof in the case of the first year of operation).

  - The service charges due hereunder shall be paid to ESCRA in equal quarterly

installments in advance on the first day of January, April, July, and October of each year.

  - ESCRA reserves the right granted to it under the Municipality Authorities Act

to charge certain enumerated fees to property owners who desire to or are required to connect to the Regional System through the Municipalities or Municipal Authorities’ wastewater collection systems as specified in Section 4.B (t) of the Municipality Authorities Act.

Section 6 - High Strength Waste Surcharge

  - Although the Treatment Plant is capable of treating certain Industrial Wastes

and, for a short duration, High Strength Wastewater, the actual treatment of such Wastewater may increase the cost of operating and maintaining the Regional System.  Therefore, each User discharging Wastewater to the Regional

System having an average 5-day Biochemical Oxygen Demand greater than 200 mg/L, a Total Suspended Solids content greater than 225 mg/L, a Total Nitrogen concentration greater than 37 mg/l, or a Total Phosphorus concentration greater than 5.9 mg/l shall pay a strength of waste surcharge, which is intended to cover such additional costs.

Such surcharges shall be in addition to regular sewer service charges and shall be payable as herein provided.

  - The surcharges, if applicable, shall be determined quarter-annually on the basis

of available Wastewater sample results of samples collected during the calendar quarter. Such sample results shall include analyses of Wastewater samples collected by ESCRA, the Municipality, the Municipal Authority, or, where the results are considered by ESCRA to be representative, the User.

  - On the basis of Wastewater sample analyses available to ESCRA, if the

Wastewater is found by ESCRA to have a 5-day Biochemical Oxygen Demand in excess of 200 mg/L, and /or a Total Suspended Solids content greater than 225 mg/L, and/or a Total Nitrogen concentration greater than 37 mg/l, and/or a Total Phosphorus concentration greater than 5.9 mg/l   the User discharging said waste shall pay a strength of waste surcharge in addition to any other sewer service charges. The surcharge shall be computed using the following formulas:

BOD5 Surcharge = (0.0863M+0.045T) (A-200) 8.34Q

B

Suspended Solids Surcharge = (0.0863M+0.04T) (C-225) 8.34Q

D

Total Nitrogen Surcharge = Q x (N – 37) x 8.34 x 91.25 x $N/lb

Total Phosphorus Surcharge = Q x (P -5.9) x 8.34 x 91.25 x $P/lb

Definition of Variables:

A    =    Average concentration of BOD5 (mg/L) for a Wastewater discharge, over the

calendar quarter.

B     =    Average 5-day BOD loading (pounds/day) of the Treatment Plant, over the

calendar quarter, as determined by ESCRA.

C     = 	   Average concentration of Suspended Solids (mg/L) for a Wastewater

discharge, over the calendar quarter.

D     =    Average Suspended Solids loading (pounds/day) of the Treatment Plant,

over the calendar quarter, as determined by ESCRA.

M    =    Annual budgeted operating, maintenance, and administrative costs of the

Regional System.

Q    =    Average Daily discharge rate (mgd) of the Wastewater discharge, which is

subject to the payment of a surcharge.

T    =    Annual depreciation charge of the Regional System as determined from the

most recent Regional System audit.

N    =   Total Nitrogen Concentration in mg/l

P     =   Total Phosphorus concentration in mg/l

$P/lb = The current market value of a pound of Phosphorus in the PA Nutrient Credit   Trading Program.

$N/lb = The current market value of a pound of Phosphorus in the PA Nutrient Credit  Trading Program.

The surcharge formulas are independent of each other and shall be assessed singly or

in combination, as applicable, for BOD5, Suspended Solids, Total Nitrogen, or Total  Phosphorus concentrations greater than those set forth herein.  Any surcharge formula producing a negative value shall be disregarded.

The value of Q used in the surcharge formulas shall be based on the User’s metered

wastewater flow, or by a method or estimate determined by ESCRA.

Payment of a surcharge shall not relieve the User of its obligation to comply with the qualitative limits for BOD5, Suspended Solids, Total Nitrogen, or Total Phosphorus listed in Section 2.2.

Section 7 – Industrial Wastewater Discharges and Discharges other than  Domestic

Sewage

7.1	In order to control the discharge into the Sewer System of Industrial Waste, or

any other Wastewater not classified as Domestic Sewage, the written approval of ESCRA must be obtained by the User prior to the discharge of such Industrial Waste or Wastewater. Such written approval shall be in the form of a Discharge Permit (the “Permit”) between ESCRA, the person, firm, or corporation intending to discharge such waste, and the Municipality or Municipal Authority into whose Collection System such waste is intended to be discharged.

7.2	Each person making application for a Permit to discharge Industrial

Waste, or any other Wastewater not defined as Domestic Sewage, into the

Sewer System shall furnish complete information to the affected Municipality or Municipal Authority as to the quantity of such Wastewater, as well as the sources and characteristics thereof.  Such application shall be reviewed by the affected Municipality or Municipal Authority, and if satisfactory, shall be submitted to ESCRA for review and approval. When ESCRA is satisfied that the Permit application sufficiently demonstrates that the proposed discharge will comply with ESCRA’s rules and regulations, that the proposed discharge

will not adversely affect the operation or the integrity of the Regional System        or the quality of the discharge from the Treatment Plant, and that the proposed discharge will not adversely affect the quality of the bio-solids from the Treatment Plant, ESCRA shall prepare a discharge Permit and return it to the applicant and the affected Municipality or Municipal Authority for approval. To be effective, the discharge Permit shall bear the authorized signatures of

ESCRA, the affected Municipality or Municipal Authority and the applicant. Such permits shall be non-transferable.

7.3	ESCRA reserves the right to disallow the discharge of incompatible     Wastewater to the Sewer System and to disallow the discharge to the Sewer System of any Wastewater which it determines may adversely affect the operation or the integrity of the Regional System, the quality of the Plant effluent, the quality of bio-solids from the Plant, or the quality of the receiving stream.

7.4	All Industrial Establishments shall be required to comply with pretreatment

regulations and requirements which may now be in effect or which may later   be established by ESCRA, EPA and DEP.

7.5	ESCRA reserves the right to cancel any Permit between any Person and a

Municipality or Municipal Authority upon the Person’s violation of the   conditions of this Resolution or the Permit or upon the expiration of the Permit.  Permits for Industrial Waste shall be written for a one-year period or such shorter time as ESCRA determines.  If ESCRA elects not to cancel the Permit on or before its anniversary, the Permit will automatically renew itself for another period of one (1) year.

7.6	ESCRA may suspend a Permit when such suspension is necessary, in the      judgment of ESCRA, to stop a discharge which presents a hazard to the health, safety, or welfare of ESCRA’s operating personnel, or to the operation of the Regional System, or upon a finding that the User has violated any provision of these Rules and Regulations or the discharge Permit.  Any User notified of such suspension shall immediately stop the discharge of all Wastewaters into the Regional System.  ESCRA may reinstate the Permit upon proof of satisfactory compliance with all discharge requirements of ESCRA.  Any User notified of a suspension of Wastewater treatment services and/or the Discharge Permit shall immediately stop or eliminate the discharge.  In the event of a failure of the User to comply voluntarily with the suspension order, ESCRA may take such action as deemed necessary, including immediate severance of the sewer connection, to prevent or minimize damage to the system or endangerment to any individuals.  ESCRA may reinstate the Discharge Permit and/or Wastewater treatment service upon proof of the elimination of the noncomplying discharge.  A detailed written statement submitted by the User describing the causes of the

harmful contribution and the measures taken to prevent any future occurrence shall be submitted to ESCRA within 15 days of the date of occurrence.

  - Except by specific written authorization from ESCRA, the average daily flow   of any Industrial Waste discharge to the Sewer System shall be limited to 10,000 gallons per day, or such lower rate, as ESCRA shall specify.  The maximum rate of flow at which Wastewater can be discharged into the Sewer System shall be at the discretion of ESCRA.

  - Adequate means shall be provided at each industrial connection with the Sewer System for periodic sampling and flow observation.  A suitable manhole, or other suitable access, shall be provided in the building’s Industrial Waste discharge line to facilitate observation, sampling, and measuring of the Industrial Waste being discharged. Such manhole shall be constructed in accordance with plans and specifications approved by ESCRA and the affected Municipality or Municipal Authority.  The manhole shall be installed and maintained in a safe condition at the expense of the Person who owns it and be located so as to be accessible at all times to Persons authorized by ESCRA or by the affected Municipality or Municipal Authority without the consent of the owner.  Samples for the determination of all characteristics and concentrations of the Wastewater shall be collected in such a manner as to be representative of the actual quality of the waste.

  - The flow volume used to determine Industrial Waste flows and surcharges   shall be specified in the Permit and shall be determined by wastewater metering.  If direct wastewater metering is not practical or possible due to low wastewater flows, an alternative method of determining the flow acceptable to ESCRA shall be used.

  - The affected Municipality or Municipal Authority shall require each User who   has been issued a Permit to install and maintain any meter or measuring device specified therein at his own expense.  This shall also include a quarterly calibration of the devices.  The calibration reports shall be sent to both ESCRA and the affected Municipality or Municipal Authority.  The affected Municipality or Municipal Authority shall be responsible for reading the measuring devices and shall forward the readings to ESCRA no less frequently than monthly or as otherwise specified in such Permit.

7.11	A $250 non-refundable application fee shall accompany each Industrial Waste               Discharge Permit Application.

On the first anniversary of issuance, and every anniversary thereafter, the Discharger holding an active Industrial Waste Discharge Permit shall be billed a non-refundable $250 annual renewal fee.

A $1500 minimum deposit shall be made to ESCRA upon submission of an Industrial Waste Discharge Permit Application which will be placed into an escrow account, out of which any fees incurred by ESCRA for engineering review of the application, and permit will be paid.  This engineering review fee deposit will be in addition to the non-refundable application fee.  The applicant may request that an estimate of engineering fees be prepared for the review.  The review will not proceed until the deposit is established, nor will the review continue if the balance in the escrow account falls to zero. The applicant will receive a complete accounting for all review costs incurred, and will be refunded only those monies that have not been expended from the account notwithstanding whether a final permit is issued or not.  If ESCRA feels that the initial $1500 deposit will be inadequate for a particular permit review, on the basis of an estimate from its Consulting Engineer, the Authority may require an initial deposit to the account in excess of $1500.

7.12           Each Municipality or its related Municipal Authority shall adopt and administer its own municipal Oil and Grease Control Program which shall require all commercial, institutional and industrial establishments that prepare, process, or serve food, or are engaged in the automotive repair industry, to employ BMP’s to control the quantity of fats, oils and greases which would otherwise be discharged to the sewer system.  This program must include, but is not limited to the requirement for all such users to install, operate, and maintain gravity grease/oil interceptors or hydromechanical grease/oil interceptors installed, and sized in accordance with the guidelines set forth in the most current edition (currently 2021) of the Uniform Plumbing Code at the direction of qualified design professionals.  Proper installation requires toilet wastes and other non-food sources of discharge must be segregated with only/all grease/oil bearing drains discharging to the grease/oil interceptor(s).  These wastewater streams shall be recombined after the grease/oil interceptor for discharge to the sanitary sewer through one common connection.

Section 8 – Preliminary Treatment

  - As not all wastewater can be satisfactorily treated at the Treatment plant,

preliminary treatment may be required before acceptance of the Wastewater    into the Sewer System.

  - ESCRA may require an owner of an improved property to construct, operate,

and maintain at his expense a preliminary treatment facility when, in the      opinion of ESCRA, such facility is necessary to reduce quantities and/or concentrations of discharge pollutants to:

- Comply with maximum limits specified in Section 2.2 of this Resolution, and

- Prevent excessive quantities or concentrations of pollutants from adversely

affecting the operation or integrity of the Regional System, the quality of the discharge from the Treatment Plant, and the quality of the bio-solids from the Treatment Plant.

No preliminary treatment facility shall be constructed or operated until the Sewer System discharge has been approved by ESCRA.  ESCRA reserves the right to examine plans and specifications for the preliminary treatment facility.

  - All such preliminary treatment facilities as required by this Resolution shall   be maintained continuously in satisfactory and effective operating condition by the User or Person operating and maintaining the facility served thereby, and at the User’s expense.  ESCRA shall have access to such facilities at all reasonable times to verify their operation and to collect discharge samples

Section 9 – Miscellaneous

  - The Municipalities and Municipal Authorities shall maintain general liability

insurance covering the construction and operation of their respective Sewer    Systems, naming ESCRA as an additional insured, which shall be written in such amounts, have such additional named insured’s, cover such risks and contain such other terms as shall be recommended by an independent insurance consultant and as shall be satisfactory to the solicitors for the parties.  All parties shall provide ESCRA with proof of such insurance and each such policy shall provide that notice of cancellation shall be given to ESCRA not less than thirty (30) days prior to cancellation.

  - In the event that the discharge of Wastewater into the Sewer System by any User causes damage to the Regional System or harm to any stream, that Person shall be liable for the damage thereof, including all costs incurred for the restoration, replacement, fines, etc.  The limit of the damage shall be determined by ESCRA and the User shall be billed therefor.  Legal action may be taken to enforce collection and/or ESCRA may require the affected Municipality or Municipal Authority to terminate that User’s connection to the Sewer System.

  - If any fines or other monetary penalties are imposed on ESCRA as a result of the violation of this Resolution by any Municipality or Municipal Authority, such Municipality or Municipal Authority shall indemnify and reimburse ESCRA for the amount thereof and any costs, including reasonable attorney fees.

  - The duly authorized representatives of ESCRA, the Municipality and the

Municipal Authority, shall, at all reasonable times, be permitted to enter upon any and all properties for the purpose of inspecting, observing, measuring, and sampling wastewaters discharged to any Sewer System.

  - ESCRA reserves the right to adopt, from time to time, changes and   modifications to the forgoing Rules and Regulations and to adopt such additional Rules and Regulations as it in its discretion shall deem necessary and proper in connection with use and operation of the Regional System, which Rules and Regulations shall be, shall become, and shall be construed as part of this Resolution.

  - ESCRA shall have the power and authority to undertake any action necessary and/or convenient to carry out the purpose of this Resolution provided that such action is not prohibited by any provisions of the Municipality Authorities Act of 1945, as amended.

  - In the event any provision, section, sentence, clause, or part of this Resolution shall be held to be invalid, such invalidity shall not affect or impair any remaining provision, section, sentence, clause, or part of this Resolution, it being the intent of ESCRA that such remainder shall be and shall remain in full force and effect.

PRINT PROOF V. 08/26/2021